# uPLC examples- Instruction List (IL)
Please use the online graphical interface for ladder programming: https://www.ni-lab.online/new_websmart/nilab_ladder_editor.php
In order to write or edit the program please use the uPLC editor inside the NiLAB Starter software :https://www.nilab.at/dokuwiki/doku.php?id=nilab_starter:uplc_editor
## Example 1 - Copy digital input to digital output
; IN0 (bit0 of reg 4620) → OUT0 (bit0 of reg 4621)
LD 4620, 0 ; load bit0 of digital input register
OUT 4621, 0 ; write result to bit0 of digital output register
END

ex1.jpg
## Example 2 — Inverted input
; OUT1 is ON when IN0 is OFF (NC contact logic)
LDN 4620, 0 ; load NOT(bit0 of digital input)
OUT 4621, 1 ; write result to bit1 of digital output register
END

ex2.jpg
## Example 3 — AND logic between two inputs
; OUT0 = IN0 AND IN1
LD 4620, 0 ; load IN0
AND 4620, 1 ; AND with IN1
OUT 4621, 0 ; write result to OUT0
END

ex3.jpg
## Example 4 — OR logic between two inputs
; OUT0 = IN0 OR IN1
LD 4620, 0 ; load IN0
OR 4620, 1 ; OR with IN1
OUT 4621, 0 ; write result to OUT0
END

ex4.jpg
## Example 5 — SET/RESET latch
; SET: IN0 sets OUT0
; RESET: IN1 resets OUT0
; output holds its state when both inputs are OFF
LD 4620, 0 ; load IN0
SET 4621, 0 ; if stack=1, set OUT0 (latched ON)
LD 4620, 1 ; load IN1
RES 4621, 0 ; if stack=1, reset OUT0 (latched OFF)
END

ex5.jpg
## Example 6 — On-delay timer
; When IN0 goes high, load Timer1 with 50 scan cycles (~300ms)
; OUT0 turns ON when the timer expires
; Reload timer only when IN0 is high and timer has expired
LD 8671, 3 ; load Z flag: set when Timer1 == 0 (expired)
AND 4620, 0 ; AND with IN0
MOV 8678, 8028 ; reload Timer1 with constant 10 (reg 8678 = 10) ; replace 8678 with a user register for longer delays
LD 8671, 0 ; load bit0 of status register: Timer1 expired
OUT 4621, 0 ; OUT0 ON when timer has expired
END

ex6.jpg
## Example 7 — Cycle counter
; Increment user register 8683 each scan cycle when IN0 is active
LD 4620, 0 ; condition: IN0 active
ADD 8683, 8676, 8683 ; 8683 = 8683 + 1 (constant 1 stored in reg 8676)
; Reset counter when IN1 is active
LD 4620, 1 ; load IN1
MOV 8675, 8683 ; 8683 = 0 (constant 0 stored in reg 8675)
END

ex7.jpg
## Example 8 — Analog value scaling
; Scale VBUS voltage (reg 4631) by factor 1/10
; formula: 8684 = 4631 * 10 / 100
LD 8676, 0 ; stack = 1 (always true, constant 1 in reg 8676)
MUL 4631, 8678, 8684 ; 8684 = VBUS * 10 (constant 10 in reg 8678)
DIV 8684, 8679, 8684 ; 8684 = (VBUS * 10) / 100 (constant 100 in reg 8679)
END

ex8.jpg
## Example 9 — CMP: output when position exceeds threshold
; OUT0 turns ON when actual motor position (reg 4625, low word)
; exceeds the threshold value stored in user register 8685
LD 8676, 0 ; stack = 1 (always true)
CMP 4625, 8685 ; compare position vs threshold sets bit4 (G flag) in reg 8671 if 4625 > 8685
LD 8671, 4 ; load G flag (bit4): 1 if position > threshold
OUT 4621, 0 ; OUT0 ON when position exceeds threshold
END

ex9.jpg
## Example 10 — Two-phase sequencer with timers
; Automatic two-phase cycle:
; Phase 1: OUT0 ON for 50 scan cycles (~300ms)
; Phase 2: OUT1 ON for 100 scan cycles (~600ms)
; Sequence repeats continuously
;
; Variables used:
; reg 8683 bit0 = current phase flag (0=phase1, 1=phase2)
; Timer1 (reg 8028) controls both phase durations
; — Reload timer when expired and we are in phase 1 —
LD 8671, 3 ; Z flag: Timer1 == 0 (expired)
ANDN 8683, 0 ; AND NOT phase flag (we are in phase 1)
MOV 8678, 8028 ; reload Timer1 with 10 cycles ; replace 8678 with a user register set to 50 in production
; — Switch to phase 2 when Timer1 expires during phase 1 —
LD 8671, 0 ; Timer1 expired (bit0 of status reg)
ANDN 8683, 0 ; we are currently in phase 1
SET 8683, 0 ; set phase flag → enter phase 2
; — Reload timer for phase 2 duration —
LD 8671, 3 ; Timer1 expired
AND 8683, 0 ; we are currently in phase 2
MOV 8679, 8028 ; reload Timer1 with 100 cycles (constant 100 in reg 8679)
; — Switch back to phase 1 when Timer1 expires during phase 2 —
LD 8671, 0 ; Timer1 expired
AND 8683, 0 ; we are currently in phase 2
RES 8683, 0 ; clear phase flag → return to phase 1
; — Drive outputs based on current phase —
LDN 8683, 0 ; NOT phase flag = we are in phase 1
OUT 4621, 0 ; OUT0 ON during phase 1
LD 8683, 0 ; phase flag set = we are in phase 2
OUT 4621, 1 ; OUT1 ON during phase 2
END

ex10.jpg
## Example 11 - Enable the motor using digital input 1
This is a simple program to enable the motor with digital input 1. Parameter 4620 is the status of the digital inputs, Parameter 4096 is the command word of the drive (3⇒motor enable, 4⇒ motor disable)
LD 4620.1
OUT 4096.0
OUT 4096.1
LDn 4620.1
OUT 4096.2
END

sim_example.jpg
## Example 12 - Enable the motor after 6 seconds from plc start
This program set the Timer 1 to 1000 (using constant parameter 8680) and a flag bit (8683.0) to start counting 6 x 1000 = 6 secs.
After 6 seconds Digital output 0 is set to 1 and the motor is enabled using control word (Parameter 4096).
LD 8671.0
ANDn 8683.0
SET 8683.0
ADD 8028 8680 8028
LD 8671.0
AND 8683.0
OUT 4621.0
LD 4621.0
OUT 4096.0
END

plc_prg_2.jpg